Quarterly Building Inspection

Grambling State University

Office of Safety and Risk Management

Date:  _______________________________

Building:  ______________________________

Inspector’s Name:  _______________________________

| FIRE SAFETY AND EMERGENCY EQUIPMENT |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Item | Yes | No | NA | Comments | FM Request # |
| 1 | Are all fire extinguishers visible & accessible? Are they fully charged? (check for needle in the green) Is the pin in place & secure? |  |  |  |  |  |
| 2 | Are fire extinguisher tags in place and less than one year old? (check punched date for year & month) |  |  |  |  |  |
| 3 | Is the fire alarm system functioning properly and has it been tested within the past year? (look for green inspection tag by alarm control panel) |  |  |  |  |  |
| 4 | Are smoke alarms functioning correctly? (test each alarm, push test button |  |  |  |  |  |
| 5 | Are all exits marked with exit signs and illuminated (if battery operated, push test button |  |  |  |  |  |
| 6 | Are evacuation plans posted near doors? |  |  |  |  |  |
| 7 | Are all doors and hallways leading to an exit, free to access with no possibility of being locked in? |  |  |  |  |  |
| 8 | Are exit routes kept free of obstructions? |  |  |  |  |  |
| 9 | Do exit doors open outwards? Will fire & exit doors close and latch properly? |  |  |  |  |  |
| 10 | Has a fire/evacuation drill been conducted within the past year? |  |  |  |  |  |
| 11 | Do portable heaters have automatic shut off if tipped over? Are portable heaters operated away from flammable materials? |  |  |  |  |  |
| 12 | Are emergency phone numbers posted? (ex: security, fire, ambulance) |  |  |  |  |  |
| 13 | Are emergency lights functioning correctly? (test by pushing button) |  |  |  |  |  |
| 14 | Are First Aid kits visible and accessible? Are they stocked? Are expiration dates current? |  |  |  |  |  |
| 15 | Are BBP spill kits stocked and accessible? |  |  |  |  |  |
| 16 | Is there at least 18” clearance for all sprinkler heads? |  |  |  |  |  |
| 17 | Are boxes, paper or other combustible items allowed to accumulate that would present a fire hazard? |  |  |  |  |  |
| BUILDING AND OFFICE SAFETY |  |  |  |  |  |  |
|  | Item | Yes | No | NA | Comments | FM Request # |
| 1 | Are there any slip/trip fall hazards located inside or outside of the building? |  |  |  |  |  |
| 2 | In areas that may be wet, greasy or slippery, are floor mats or other anti-slip material used and in good condition? |  |  |  |  |  |
| 3 | Are service holes, man holes, drains, etc. properly covered? |  |  |  |  |  |
| 4 | Is the building well lit? |  |  |  |  |  |
| 5 | Are floors in good condition with no loose or broken flooring? |  |  |  |  |  |
| 6 | Are stairways in good condition with handrails in place? Are stair treads in good condition |  |  |  |  |  |
| 7 | Does the building have any pest problems |  |  |  |  |  |
| 8 | Are all ceiling tiles in place and in good condition throughout the building? |  |  |  |  |  |
| 9 | Is the building secure? Are all outside doors locked at the end of each day? Are all locks and other security devices functioning properly? |  |  |  |  |  |
| 10 | If equipped, is the security system for the building working properly? |  |  |  |  |  |
| 11 | Are all maintenance and mechanical areas secured? (i.e. boiler rooms, air handles) |  |  |  |  |  |
| 12 | Do any windows have broken panes? |  |  |  |  |  |
| 13 | Are all elevators working correctly? Are elevators equipped with an emergency phone? |  |  |  |  |  |
| 14 | Is the parking lot in good condition? (I.e. no potholes, parking lines visible, etc.) |  |  |  |  |  |
| 15 | Are there any water leaks in the building? Note exact location of leaks if it can be determined. |  |  |  |  |  |
| 16 | Are all plumbing systems working properly? (toilet flushing problems, drainage problems, leaks from faucets, pipes, etc. |  |  |  |  |  |
| 17 | Is the Hazard Control Log posted? |  |  |  |  |  |
| 18 | Are safety rules posted? |  |  |  |  |  |
| 19 | Do employees stand on chairs/desks instead of approved ladders/stepstools? |  |  |  |  |  |
| ELECTRICAL SAFETY AND STORAGE METHODS |  |  |  |  |  |  |
|  | Item | Yes | No | NA | Comments | FM Request # |
| 1 | Are all breaker boxes labeled correctly? Are empty breaker slots covered? Are the doors closed? |  |  |  |  |  |
| 2 | Do panel boxes have any hot spots? If so, note the location of hot spot and which panel box. |  |  |  |  |  |
| 3 | Check extension cords: are they properly grounded and adequately sized for the current being drawn? Are they placed in a manner to prevent tripping? |  |  |  |  |  |
| 4 | Check extension cords: are they damaged in any way? |  |  |  |  |  |
| 5 | Are outlets & switches covered properly? |  |  |  |  |  |
| 6 | Are storage areas neat? Are items stacked properly? Are heavier items stored below shoulder height? |  |  |  |  |  |
| 7 | Do top shelves have overhang? |  |  |  |  |  |
| 8 | Are all custodial areas in good condition? Are chemicals stored in appropriate containers? Is this area secure? |  |  |  |  |  |
| 9 | Are flammable items stored in proper cabinets and/or containers? |  |  |  |  |  |
| 10 | Are oxygen and/or acetylene tanks secured properly? |  |  |  |  |  |
| Other Building Safety Issues & Concerns Noted By the Inspector |  |  |  |  |  |  |
| Item |  | Comments |  |  |  |  |

______________________ _____________                         _________________________________

Inspector’s Signature                                                                                Date